## Legend
| goal | instrument | object | notes
f2.outside | trial @ dyke & fergies | E60 | birbs
f13.earout | early outside; field study area | E60 | mug; 1 hw | video; trash data
f19.earin | early inside; temperature range messing | E60 | 1 hw | video; trash; gave an approximate of 10 - 15 m visible
f21.angle | Model & Angle tests | E60 | feather model (flat - 5); 1 hw
f22.ftrial | feather trial #1; behavior over time/translation b/w real temp & camera view | DJI; thermocouple | f model (flat - 5) | bad thermocoupler
f27.minout | mini outing; different possible bg in the field study area | E60 | Heated rice sock
f28.ftrial2 | feather trial #2; over time + real vs. percieved | DJI + E60 + thermocouple | f model (stand - 4)
m1.reifel | test @ reifel | E60 | birbs | saw whet owl

## f2.outside
Therm-Image number | Location | Species | Notes
1226; 1228 | Near watershed | F + M Mallard | Despite afternoon and expected reflectance of water mallards were easily imaged from approximately 5 - 10 m
1230 | near watershed | Domestic dog | Dog easily imaged but hard to spot in regular photo; issue - movement of dog made it hard to capture again (1232) | Note: all corresponding phtographs are +1 to the thermal image
1234 - 1244 | near watershed | F + M Mallard | more images of them at different distances
1250; 1252 | near watershed | A. Bald eagle | Bald eagle flying very visible against the sky
1254 | near watershed |  | How hot the trees and mountains look
1256 | near watershed | seagull | Flying by, again the time it takes to register proves the biggest issue; when reviewing the images it was easier to spot the seagull in the thermal than normal photo
1260 | Furgies | Bald eagle | From distance with automatic temperature range; only distinguishable in thermal image from knowledge of visual image
1262; 1308; 1314 | Furgies | seagull | Close up; First taken at very different time as the second two; Both times was scared out of the water fluttered to rock and then settled
1266 | Furgies | Bald eagle (2) | Second bald eagle landed just before this shot; With adjustments to the temperature range the First eagle is actually very clearly distinguishable in thermal image due to heat distribution and shape
1268 - 1286 | Furgies | Bald eagle (2) | Shifting to get them with the sky as background + messing with temperature range (subjectively 84 or 86 look like the clearest)
1288 | Furgies tracks | Coopers Hawk | Specific angle was needed to see it separate from the tree; Got an image as it was taking off; Bird remained in observational view for about 5 more seconds which was not enough time for the camera to capture a second photo
1294 -1306 | Furgies river | M + F Goldeneyes | Changing temperature range to change ability to see. The female was diving and not visible when underwater. The male was easier to spot in visual and most thermal though in 1302 they appear similar intensities [visibility bias associated with sexual dimorphism]
1310 - 1312 ; 1316 - 1318 | Furgies | American Dipper (2) | The dippers were more efficiently spotted with use of the thermal camera especially given dusk lighting and the grey of dipper + rock. They were spotted visually first but for refinding them I mean; visible from pretty far and in front of rock (1312)
1310; 1312 | Furgies | American Dipper (2) | Trying to get a video of their movement; 1310 they don't do enough for the camera to pick it up (besides slight changes in apperant emissivity as the head moves); 1312 you can watch one run behind a rock
The combo of heat signature pattern and movement is key to identifying a hot patch as a bird especially during times of non-uniformity like late day
Didn't think till the end that may the best move is to have it on video mode to be able to capture moving creatures
1286 - distance of mebbe 50 m (? See 1287) bald eagle is around 7 pixels height 4 pixels across

## f21.angle
Angle: | Image | time (camera) | what | notes |  | cam date: 21:57 @ 10:25
0˚ |  |  |  |  | date on cam: feb 22 | so its 11 hours and 2 minutes ahead
| FLIR1349 | 0:09 | 5 HW heating then put in bag |  | actual:
| FLIR1350 | 0:15 | 1 HW after heating
| FLIR1351 | 0:21 | Bag w/ HW after heating |  | all heat in pocket sessions last 5 minutes
| FLIR1352 | 0:27 | 1 HW after heating |  | cooling sessions lasted approximately 5 minutes
| FLIR1353 | 0:27 | Bag w/ HW after cooling
| FLIR1354 | 0:33 | Bag w/ HW after heating | spotmeter turned off
| FLIR1355 | 0:34 | Feathers on heated bag
| FLIR1356 | 0:40 | Feathers on bag 5 min
| FLIR1357 | 0:47 | Bag w/ HW after heating
| FLIR1358 | 0:48 | Feathers on heated bag
| FLIR1359 | 0:48 | 1 HW after > 10 min heating
| FLIR1360 | 0:54 | Feathers on bag 5 min
| FLIR1361 | 1:06 | Feathers on bag 20 min | it had a very faint signature. I went to adjust it and it was still faint till the camera said calibrating than it became more visible (see next image)
| FLIR1362 | 1:07 | Feathers on bag 20 min | 20 includes the previous 5
| FLIR1363 | 1:14 | Feathers on bag 25 min | 25 in total
| FLIR1364 | 1:15 | Flipped
| FLIR1365 | 1:16 | 1 HW from inside bag
(- 45˚)
| FLIR1366 | 1:33 | 1 HW after cooling (long time)
| FLIR1367 | 1:38 | 5 HW heating then put in bag
| FLIR1368 | 1:43 | Bag w/ HW after cooling
| FLIR1369 | 1:43 | 1 HW after heating
| FLIR1370 | 1:50 | Bag w/ HW after heating
| FLIR1371 | 1:50 | Feathers on heated bag
| FLIR1372 | 1:56 | Feathers on bag 5 min
| FLIR1373 | 2:02 | 5 HW heating then put in bag
| FLIR1374 | 2:08 | Bag w/ HW after cooling
| FLIR1375 | 2:14 | Bag w/ HW after heating
| FLIR1376 | 2:14 | Feathers on heated bag
| FLIR1377 | 2:20 | Feathers on bag 5 min
| FLIR1378 | 2:21 | 1 HW from inside bag
45˚
| FLIR1379 | 2:37 | 5 HW heating then put in bag
| FLIR1380 | 2:43 | Bag w/ HW after cooling
| FLIR1381 | 2:44 | 1 HW | I don't remember context : /
| FLIR1382 | 2:50 | Bag w/ HW after heating | Ended up being slightly over 5 minutes
| FLIR1383 | 2:51 | Feathers on heated bag
| FLIR1384 | 2:56 | Feathers on bag 5 min
| FLIR1385 | 3:08 | Feathers on bag 15 min | 15 min total
| FLIR1386 | 3:09 | Feathers on bag 15 min | Adjusted feathers
FLIR1387

## f28.ftrial2
Initial | 4 handwarmers within vertical standing feather model. HW shaken then left seperately 10 min; put in bag ~20 min before recording started
E60 143 cm up to match height of object; table under DJI = 110 cm up; 60 cm apart
Started temperature & DJI at 11:55:00 for 30s intervals
E60 done manually every 5 min starting at 12:00:00
I had recorded exact times but they can be generated in R so its cool

## Sheet2
Initial: following image is always the RGB/visual spectrum version; if nothing is specified in notes or species it is related to/the same as the cell above
Iona
Therm-Image number | Species | Notes
FLIR1436 | GB Herons (12 total) | heron shape + heat signature make them very obvious contrasting against the water
FLIR1437 |  | estimated fov of thermal marked out; 2 that are difficult to spot visually are readily evident in thermal
FLIR1438 | GB Herons p2 (6 non-over) | continuing to the side from previous - some overlap
FLIR1439 | still 12 on section from before | might be 1(7th) that can be seen visually but not thermal
FLIR1440 | GB Herons (12 total) | same section as 1436; slightly different view
FLIR1441 | Crow | very faint; pin prick in thermal
FLIR1442 |  | faintly visible from behind leaves
FLIR1443 | Crow
FLIR1444
FLIR1445 | ? Gull | not visible (too thin, bad angle)
FLIR1446
FLIR1447 | towhee | not visible (cannot resolve frequency b/w branches)
FLIR1448
FLIR1449
FLIR1450
FLIR1451
FLIR1452 | Gull | Flying; also shows horizon gradient
FLIR1453 |  | Shows how visual is captures slightly after the thermal
FLIR1462 | sparrow or blackbird | hard to distinguish between high energy leaves
FLIR1463 |  | dark vaguely visible
FLIR1464 |  | The shape makes bird very obvious in thermal compared to 1462
FLIR1465
FLIR1466 |  | Again shape is important at times of many confusing thermal signatures
FLIR1467 |  | butt very visible
FLIR1468 | RW Blackbird | Very far away but clearly distinguishable
FLIR1469 |  | Especially worth noting how many leaves are of equivalent strength in the visual (impossible to tell what's bush and bird) but in thermal it becomes obvious; especially useful for species that exhibit territorial singing behavior high up on branches like that (only useful with sky background)
FLIR1470 | Otter!
FLIR1471
FLIR1472 | gulls | Them and reflections on wet sand obvious, may be one on beach too
FLIR1473 |  | can't comparison because covered lens with finger : /
FLIR1474 | ducks | visible from very far away; clear on the water
FLIR1475 |  | some less visible
FLIR1476 | Bald Eagle | very far but still clearly distinguishable similar to 1468
FLIR1477 |  | Harder to see
FLIR1478 | Mallards (9)
FLIR1479
FLIR1480 | Blackbird | stark
FLIR1481 |  | shape distinguishable in visual too
FLIR1482 | Blackbird & crow | difference in size/shape/res
FLIR1483
FLIR1484 | crow
FLIR1485
FLIR1486
FLIR1487
Reifel
FLIR1491 | Black-crowned Night heron | Splotch is visible but only confirmable as bird with visual cue too;
FLIR1492 |  | white visible there's; another heron in FOV not visible with the thermal cam
FLIR1493 | Mallards
FLIR1494
FLIR1495 | sparrow
FLIR1496
FLIR1497 | Sandhill cranes (2) | They're there but hard to spot due to shape & bad focus?
FLIR1498 |  | Very difficult to see/ can't really see the second
FLIR1499 |  | Very obvious to see with body and neck, even distinguishable at great distance against warm grass
FLIR1500
FLIR1501 |  | Also a good one
FLIR1502
FLIR1503 | Mallards
FLIR1504
FLIR1505
FLIR1506
FLIR1507
FLIR1508
FLIR1509
FLIR1510 | Wood duck
FLIR1511
FLIR1512 | ? | I can't remember anything about this photo or distinguish if there's anything in it
FLIR1513
FLIR1514 | Chickadee | Pretty close to distinguish
FLIR1515
FLIR1516 | Chickadee | on human hand & in flight
FLIR1517 |  | again shows the visual is a bit after thermal and if it's fast enough it'll change the outcome
FLIR1518 | Wood duck
FLIR1519
FLIR1520 | GB Heron | despite strong signal hard to distinguish due to hot & patchy bg
FLIR1521
FLIR1522 | squirrel
FLIR1523
FLIR1524 | eagle
FLIR1525
FLIR1526 | Saw-whet owl | really distinguishable in IR impossble to see in visual due to light
FLIR1527
FLIR1528
FLIR1529
FLIR1530
FLIR1531
FLIR1534 -
FLIR1535 | N/A | Potentially occupied nest box - hole does appear hotter than others that were examined (photos not taken) and imaged ( 1537)
FLIR1536
FLIR1537 | N/A | Nest box - presumed unoccupied
FLIR1538
FLIR1539
FLIR1540 | Saw-whet owl | not sure if the hot shape is the owl…
FLIR1541 |  | not visible
FLIR1542
FLIR1543
FLIR1544
FLIR1545
FLIR1546
FLIR1547
FLIR1548
FLIR1549 | WC sparrow
FLIR1550
FLIR1551
FLIR1552
FLIR1553 | Mallards (lots)
FLIR1554
FLIR1555 |  | the shape they make from the front is real interesting
FLIR1556
FLIR1559 | Eagles | too far away
FLIR1560
FLIR1561 |  | zoom function very pixelly eagles still too far
FLIR1562
FLIR1563 | sparrow | tiny pin prick still hot against warm soil
FLIR1564
FLIR1565 | GB heron
FLIR1566
FLIR1567 | American coot
FLIR1568
FLIR1569
FLIR1570
FLIR1571 | Mallard
FLIR1572
FLIR1573 | house finch | the shape & heat and placement at tip of branch make it easily distinguishable
FLIR1574
FLIR1575 |  | closer up
FLIR1576
FLIR1577 | Duck diving
FLIR1578 |  | finger over view
FLIR1579 | Northern shovelers | The reflections are visible versus the shapes on shore are hard to make out
FLIR1580
FLIR1581 | Mallards and canada geese
FLIR1582
FLIR1583
FLIR1584
FLIR1585 | Pin tail
FLIR1586
FLIR1587 | White crowned night heron | couldn't get it this time
FLIR1588
FLIR1589